Eagle Eye Network Integration Guideline for GCX-ONE

## 1. Overview

This document describes the required client-side configuration and GCX-ONE-side onboarding steps to integrate Eagle Eye Networks with the GCX-ONE platform.
The integration uses Eagle Eye Bridge identifiers to discover securely and register devices in GCX-ONE.

## 2. Client-Side Configuration (Eagle Eye)

## 2.1 Bridge Settings

This section provides hardware, network, and identification details of the selected Eagle Eye Bridge. These parameters are required for validation and onboarding in GCX-ONE.

| Parameter | Description |
| --- | --- |
| SSN (System Serial Number) | Unique serial number assigned to the Eagle Eye Bridge hardware. |
| IP Address | Local IP address assigned to the bridge within the internal (LAN) network. |
| ESN (Equipment Serial Number) | Mandatory identifier required to add the device into GCX-ONE. |
| GUID (Global Unique Identifier) | Cloud-level unique identifier used by Eagle Eye to identify the device globally. |
| WAN | 1000 Mb/s – Uplink interface supporting Gigabit Ethernet connectivity. |
| CamLAN | 1000 Mb/s – Camera LAN interface supporting high-throughput camera traffic. |
| CamLAN+ | Confirms support for up to 1000 Mb/s, enabling multiple high-resolution camera streams without congestion. |

Important:

Ensure the bridge has stable WAN connectivity and is successfully registered in the Eagle Eye Cloud before proceeding with GCX-ONE onboarding.

# 2.2 User Settings (Eagle Eye Cloud)

The following user-level settings must be validated before integration:

- A valid Eagle Eye Cloud user account with administrative privileges at the reseller level or customer level.

- Permission to:

  - View bridge details (ESN, GUID).

  - Manage devices and camera assignments.

- The bridge must be in an Online / Connected state.

- Time synchronization (NTP recommended) must be enabled on the bridge.

## 3. GCX-ONE Configuration Steps

Step 1: Log in to GCX-ONE.

Step 2: Click on the Configuration menu.

Step 3: At the Service Provider level, click on Customers.

Step 4: Click the Add button.

Step 5: Enter the required fields and click Save.

Step 6: Select the newly created customer.

Step 7: Navigate to the Sites tab.

Step 8: Click the Add button.

Step 9: Enter the required fields and click Save.

Step 10: Select the newly created site.

Step 11: Navigate to the Devices tab.

Step 12: Click the Add button.

Step 13: The Add Device dialog will be displayed.

Step 14: In the dialog, open the Device dropdown and select Eagle Eye.

Step 15: Enter the required Eagle Eye identifiers

- name

- Serial No (ESN)

- user name / password

Step 16: Click Discover to initiate device validation and cloud handshake with Eagle Eye

Step 17: Once the device is successfully discovered, click Save.

## 4. Post-Integration Validation

After successful onboarding, verify the following in GCX-ONE:

- Device status is Online

- Cameras are visible and correctly mapped

- Live stream is accessible

- Alarms are received properly (if the device is armed)

# 5. Common Integration Notes

- Discovery may fail if:

  - ESN is incorrect or not cloud-registered

  - The Bridge is offline

  - firewall blocks outbound connectivity

- One Eagle Eye Bridge can support multiple cameras; ensure bandwidth sizing aligns with camera resolution and frame rate.

- Camera naming consistency between Eagle Eye and GCX-ONE is recommended for operational clarity.

# 6. Support and Troubleshooting

If discovery or onboarding fails:

- Revalidate ESN and GUID in Eagle Eye Cloud

- Confirm WAN connectivity from the bridge

- Verify GCX-ONE user permissions

- Contact platform support and provide the bridge identifiers and site details