Hanwha Device Configuration Guide with GCX-ONE

This document describes the steps required to configure a Hanwha device in GCX-ONE.

Step 1: Log in to GCX-ONE.

Step 2: Click on the Configuration menu.

Step 3: At the Service Provider level, click on Customers.

Step 4: Click the Add button.

Step 5: Enter the required fields and click Save.

Step 6: Select the newly created customer.

Step 7: Navigate to the Sites tab.

Step 8: Click the Add button.

Step 9: Enter the required fields and click Save.

Step 10: Select the newly created site.

Step 11: Navigate to the Devices tab.

Step 12: Click the Add button.

Step 13: The Add Device dialog will be displayed.

Step 14: In the dialog, open the Device dropdown and select Hanwha.

Step 15: Enter all required fields:

- IP Address or Host

- Username

- Password

- RTSP Port

- HTTPS Port

Note: The HTTPS Port field is mandatory when adding a Hanwha device.

Step 16: Click Discover.

Step 17: Once the device is successfully discovered, click Save.

## Webhook Configuration for Hanwha Device

This section describes how to verify webhook configuration for event routing in Hanwha devices.

Step 1: Log in to the Hanwha device web client.

Step 2: Select the required Sensor from the sidebar.

Step 3: Right-click the sensor and select Camera Changes.

Step 4: From the event rule list, click Do HTTPS Request.

Step 5: Verify the configured HTTP URL and HTTP Content.